## Purchased equipments
OCT equipment | Part number | Count | Price for each | Link | Cost
OQ Stratascope 1.0 |  | 1 | 19995 | https://www.lumedicasystems.com/stratascope/ | 19995
Extended support for OQ Stratascope |  | 1 | 1895 |  | 1895
Workstation Package for OQ Stratascope |  | 1 | 595 |  | 595
Virtual Serial Port Virtual serial port |  | 1 | 295 |  | 295
Optomechanical parts (purchased)
Aluminum Breadboard 12" x 24" x 1/2", 1/4"-20 Taps | MB1224 | 1 | 302.56 | https://www.thorlabs.com/thorproduct.cfm?partnumber=MB1224 | 302.56
Right-Angle Mounting Plate, 1/4"-20 Compatible | AP90 | 2 | 94.74 | https://www.thorlabs.com/thorproduct.cfm?partnumber=AP90#ad-image-0 | 189.48
4-40 Stainless Steel Cap Screw, 3/8" Long, 50 Pack | SH4S038 | 1 | 9.5 | https://www.thorlabs.com/thorproduct.cfm?partnumber=SH4S038 | 9.5
Low-Profile T-Nut, 1/4"-20 Tapped Hole, 10 Pack | XE25T3 | 1 | 11.65 | https://www.thorlabs.com/thorproduct.cfm?partnumber=XE25T3 | 11.65
30°/60° Angled Mounting Plate, 1/4"-20 Compatible | AP30 | 1 | 147.91 | https://www.thorlabs.com/thorproduct.cfm?partnumber=AP30 | 147.91
50 mm x 75 mm Construction Rail, 20" Long, 1/4"-20 Taps | XE5075L20 | 2 | 89.28 | https://www.thorlabs.com/thorproduct.cfm?partnumber=XE5075L20 | 178.56
Right-Angle Clamp for Ø1/2" Posts, 3/16" Hex | RA90 | 3 | 10.82 | https://www.thorlabs.com/thorproduct.cfm?partnumber=RA90 | 32.46
Adapter Plate with 1/4"-20 and 8-32 Tapped Holes for MTS25 and MTS50 Stages | MTSA1 | 2 | 51.98 | https://www.thorlabs.com/thorproduct.cfm?partnumber=MTSA1 | 103.96
Ø1/2" Optical Post, SS, 8-32 Setscrew, 1/4"-20 Tap, L = 2" | TR2 | 6 | 5.9 | https://www.thorlabs.com/thorproduct.cfm?partnumber=TR2 | 35.4
3" Long Corner Bracket for Aluminum Bolt-Together Framing | 8681N11 | 8 | 13.96 | https://www.mcmaster.com/products/l-shaped-brackets/aluminum-bolt-together-framing-and-fittings/ | 111.68
Load-Rated Threaded Bumper | 93115K111 | 6 | 3 | https://www.mcmaster.com/93115K111/ | 18
motorized stages
50 mm (1.97") Motorized Translation Stage Bundled with Controller and Power Supply, 8-32 and 4-40 Taps | KMTS50E | 2 | 1856.26 | https://www.thorlabs.com/thorproduct.cfm?partnumber=KMTS50E#ad-image-0 | 3712.52
300 mm Translation Stage with Stepper Motor, Integrated Controller, M6 Taps | LTS300C | 1 | 3595.86 | https://www.thorlabs.com/thorproduct.cfm?partnumber=LTS300C | 3595.86
30 mm Motorized Linear Translation Stage, 1/4"-20 Tapped Holes | M30X - Kinesis | 1 | 2920.09 | https://www.thorlabs.com/thorproduct.cfm?partnumber=M30X | 2920.09
Other equipments: |  |  |  |  | 0
AMD Ryzen Series Video Editing Custom PC System * |  | 1 | 3023.83 |  | 3023.83
Miniature End Mills - Square - Stub & Standard, Miniature End Mills | 13908 | 1 | 35.2 | https://www.harveytool.com/products/tool-details-13908 | 35.2
Rampower Digital 45 Sets | RAMPOWER45SETC2 | 1 | 285 | https://www.ramprodinc.com/rampower-digital-45-sets/ | 285
MS100 Portable USB Microscope | TSMS100 | 1 | 39.99 | https://teslong.com/products/ms100-industrial?srsltid=AfmBOopLtoOyiU9qH2wwoJw4derogYHPFxJTyjbzB85T5ge9PCzy-h4g | 39.99
Surge Protector Power Strip |  | 1 | 15.99 | https://www.amazon.com/Protector-Nuetsa-Extension-Outlets-Joules/dp/B09F2XPJ47/ref=sr_1_2_sspa?dib=eyJ2IjoiMSJ9.B9tdmnfGfgR66DLZgPwQgRjZgSCRSGEMtPxav18NgyYmGasI70suHoztC1cbLNVKdFuvO7VkRALTQGoQtnpHat8W1Rus4tb13z_I_xWh_sJvIZSsHS3LFtytXyEgVuFwFbp4LIyJR9i2fyydB4smwFjvME-j8uSriF53667SqrixLlix-fhfKueChuyqjyUZ28uzUR31bVLjcOj6eZ-xEQLghhFkqjDDizpigGkig90.Y701gkeimPW85PEWQi5lNPntiXLrL1nXv9ckJNuVWdg&dib_tag=se&hvadid=697649766938&hvdev=c&hvlocphy=9019667&hvnetw=g&hvqmt=b&hvrand=2949587259745353436&hvtargid=kwd-2300032029996&hydadcr=11606_13301944&keywords=power%2Bstrips%2Fsurge%2Bprotectors&qid=1733257146&sr=8-2-spons&sp_csd=d2lkZ2V0TmFtZT1zcF9hdGY&th=1 | 15.99
Powered USB 3.0 Hub, Wenter 11-Port Hub Splitter |  | 1 | 38.99 | https://www.amazon.com/WENTER-Splitter-Individual-Switches-Charging/dp/B08YNPXPRW/ref=sr_1_1_sspa?keywords=usb%2Bhub%2B3.0%2Bpowered&qid=1651682603&sprefix=usb%2Bhub%2Caps%2C88&sr=8-1-spons&spLa=ZW5jcnlwdGVkUXVhbGlmaWVyPUEyRjk0RjNKOUhDVEZVJmVuY3J5cHRlZElkPUEwMTg5NjQwMklaWTMyNzg2U0NNMiZlbmNyeXB0ZWRBZElkPUEwNzE0MTA0MU9aNk1DQlM4TlVRMSZ3aWRnZXROYW1lPXNwX2F0ZiZhY3Rpb249Y2xpY2tSZWRpcmVjdCZkb05vdExvZ0NsaWNrPXRydWU&th=1 | 38.99
* Specs: AMD Ryzen Series Video Editing Custom PC System Computer Case: Corsair Carbide Series 4000D Black ATX Case Fan: 120mm Ball Bearing Case Fan Power Supply: Thermaltake Smart 600W 80 PLUS Bronze Power Supply Motherboard: GIGABYTE X570 AORUS ELITE WIFI AM4/ AMD X570/ DDR4/ PCIE 4.0/ SATA3&USB3.2/ M.2/ A&GbE/ WIFI / BLUETOOTH/ ATX Processor: AMD Ryzen 9 5950X AM4 3.4GHz 16-Core Processor CPU Cooling Fan: 120mm Quiet Edition Water / Liquid CPU Cooler Memory: 64GB DDR4 High Performance Memory M2 SSD: 2TB Intel M.2 2280 Internal SSD Hard Drive: 3TB Storage Drive SATA3/SATA 6.0 GB/s 64MB Video card: NVIDIA Quadro T600 4GB GDDR6 4Mini DisplayPorts PCI-Express Sound Card: High Definition Audio with High Quality Audio Capacitors (onboard) Controllers: 2x Port Serial PCI-x Card Network Card: 100/1000 Gigabit Network Card (onboard) Wireless Card: 300Mbps Wireless N PCI-x Adapter Card Reader: External 23 – In – 1 Universal Card Reader / Writer Monitor: 27" Samsung LED/LCD Monitor Keyboard: Logitech Wireless Desktop MK320 Keyboard and Mouse Speakers: Logitech Z150 2.0 Speaker System Operating System: MS Windows 10 Pro 64-bit Warranty: Assembled and tested, 3 years parts and 3 Year labor warranty

## Custom parts
Aluminum-machined parts |  | Count | Price
Bite bar* | Refer to the following paper:(https://doi.org/10.1038/s41596-020-0318-4) | 1
Ear bars* | Refer to the following paper:(https://doi.org/10.1038/s41596-020-0318-4) | 2
LTS300C to M30X - Kinesis connector* | Use the CAD file provided in the CAD folder | 1
KMTS50E to XE5075L20 connector* | Use the CAD file provided in the CAD folder | 2
Stereotax* | Use the CAD file provided in the CAD folder
3D printed:
OCT scanner holder | Use the CAD file provided in the CAD folder | 1
Electrical driller holder | Use the CAD file provided in the CAD folder | 1
Nose cone | Refer to the following paper:(https://doi.org/10.1038/s41596-020-0318-4) | 1
* All can be Machined from the following:
Oversized Multipurpose 6061 Aluminum Sheet | 18"X18" Sheet | 1 | 169.1 | https://www.mcmaster.com/89155K12/